## transmittance_dfs
dF amplitudes(32kHz) | Rep 1 | Rep2 | Rep3 | Rep 4 | duration = 6 seconds.
100Hz |  |  |  |  | preamp, gain = 1
10khz |  |  |  |  | second frequency=32kHz.
100kHz | 31 | 37.96 | 39.66 | 34.1 | This way I get a difference frequency that is very high, and has far more repetitions.
500kHz | 101 | 100 | 100 | 100 | There is some spectral spreading. This would decrease if I recorded longer duration again.
1MHz | 200.16 | 199.66 | 205.01 | 189.1
1.5MHz | 226.31 | 229.02 | 189.9 | 183.73
2MHz | 186.1 | 182.3 | 142 | 207
Carrier amplitudes at electrode (microvolts)
100Hz
10khz
100kHz | 1812 | 1820 | 1754 | 1760 | Is the carrier frequency directly proportional to the df - yes.
500kHz | 5333 | 5408 | 5337 | 5299
1MHz | 9719 | 9696 | 9921 | 9670
1.5MHz | 9690 | 9583 | 8297 | 8301
2MHz | 5912 | 6283 | 4623 | 6583
RF monitor amplitudes (V) | Rep 1 | Rep2 | Rep3 | Rep 4
100Hz
10khz
100kHz | 70.8 | 70.8 | 70.8 | 80.76
500kHz | 72.7 | 72.6 | 72.6 | 72.5
1MHz | 76.9 | 77 | 76.99 | 76.67
1.5MHz | 79.3 | 79.15 | 78.05 | 77.94
2MHz | 84.03 | 86.14 | 83.4 | 84.6

## resistor test
Resistor test 1kOhm |  |  |  |  | Testing similar carrier amplitudes to compare the non-linear mixing amplitude.
dF amplitudes(10Hz) | Rep 1 | Rep2 | Rep3 | Rep 4 | these are peak to peak amplitudes.
100Hz
10khz
100kHz | 7.85 | 4.3 | 3.98 | 3.57 | noise floor.
500kHz | 15.6 | 13.99 | 3.81 | 2.93 | There is some non=linearity due to the amplifier, but it is small compared to what I measure in saline.
1MHz | 5.28 | 8.23 | 0.88 | 3.49
1.5MHz | 2.2 | 8.45 | 2.14 | 3.23
2MHz | 11.1 | 6.3 | 11.8 | 5.88 | at the noise floor here.
Carrier amplitudes at electrode (microvolts) |  | set by trial and error comparison with my carrier measurements in solution.
100Hz
10khz
100kHz | 2097 | 2088 | 2079 | 2092
500kHz | 5459 | 5466 | 5641 | 5648
1MHz | 10203 | 10190 | 10212 | 10198
1.5MHz | 8730 | 8740 | 8732 | 8739
2MHz | 4811 | 4820 | 4835 | 4815