## transmittance_dfs
dF amplitudes(10Hz) | Rep 1 | Rep2 | Rep3 | Rep 4 | Note: In this test, I used a 10k low pass, and gain = 500.
100Hz | 1.2 | 0.81 | 0.16 | 0.32 | duration = 4 seconds.
10khz | 0.8 | 1.16 | 2 | 1.59 | Hence I cannot accurately measure the carrier amplitudes at the measurement electrodes due to the filter attenuation.
100kHz | 14 | 13.6 | 14.6 | 18.18
500kHz | 37 | 37.3 | 36.3 | 36.3
1MHz | 8.01 | 6.19 | 6.17 | 6.4 | there is a problem in the second half of the file in these.
1.5MHz | 138.2 | 138.66 | 139.6 | 139.78.1 | otherwise it is 60-70 p-p, weird effect in second half.
2MHz | 284.4 | 284.6 | 282.4 | 260
Fs = 10MHz
RF monitor amplitudes (V) | Rep 1 | Rep2 | Rep3 | Rep 4
100Hz | 0 | 0 | 0 | 0
10khz | 34.9 | 35.15 | 35.13 | 35.3
100kHz | 72 | 71.6 | 71.6 | 71.65
500kHz | 72.9 | 72.8 | 72.3 | 72.9
1MHz | 76.7 | 76.4 | 76.3 | 75.9
1.5MHz | 77.27 | 76.5 | 78.68 | 78.12 | This is ABOVE the limit of my preamp.
2MHz | 82 | 83.4 | 82.07 | 83.7
I cannot measure the df amplitudes so well with the preamp, as strange things happen above 1MHz. (the preamp max frequency)

## transmittance_carrier
carrier amplitudes at electrodes(microvolts) | Rep 1 | Rep2 | Rep3 | Rep 4 | Note: In this test, I used no filters and gain = 1
100Hz | 19.9 | 7 | 10.6 | 5.35 | Using the preamp.
10khz | 193 | 186 | 194.48 | 184.7 | Fs = 10Mhz
100kHz | 1861.44 | 1801.13 | 1799.96 | 1787
500kHz | 5363 | 5386 | 5363 | 5435 | vout = 0.4
1MHz | 10146 | 9873 | 9795 | 9831
1.5MHz | 8218.7 | 8514 | 9682.5 | 8684
2MHz | 6922.68 | 6807 | 4098 | 3733
carrier amplitudes at rf monitor (volts)
100hz | 0 | 0 | 0 | 0
10khz | 35.05 | 35.26 | 35.35 | 35.4
100kHz | 72.59 | 72.47 | 72.45 | 72.2
500kHz | 74.11 | 74.06 | 73.8 | 73.95
1MHz | 78.72 | 78.74 | 78.3 | 78.09
1.5MHz | 77.45 | 77.34 | 78.21 | 77.95
2MHz | 84.63 | 82.98 | 85.22 | 82.36
dfs (these measures are nonsense due to lack of gain, and being at 10hz)
100Hz | 20 | 14 | 27 | 3.5
10khz | 44 | 33 | 20 | 12
100kHz | 14.88 | 15 | 15.8 | 50
500kHz | 41 | 32 | 36 | 30 |  | I would say the df is lost in the noise…
1MHz | 12 | 25 | 16 | 50 |  | NOISE not enough gain.
1.5MHz | 75.9 | 149 | 170 | 90
2MHz | 186 | 169 | 194 | 232