## Slide 1: RF TI with an antenna and air gap. (completely non-invasive)
20.09.2023

## Slide 2: RF TI may work. Here is 5Hz df.
microvolts
Time(s)
volts
Gain = 500
Preamp filter at 1k low pass. 6dB
Vout = 10V
F1 = 1MHz
F2 = 1MHZ + 10Hz
Location, v close to gel.
Output signal
Measurement signal

## Slide 3: 2khz and 2khz + 5Hz (same settings as previous page)
Nothing there

## Slide 4: Back to 1MHz, df = 3Hz. (file 3)
About 30 microvolts.

## Slide 5: 1MHz carrier, df = 1Hz. (file 4)
About 30 microvolts.

## Slide 6: 1MHz carrier, df = 5Hz. (file 5)

## Slide 7: 1MHz carrier, df = 10Hz. (file 6)

## Slide 8: 1MHz carrier, df = 40Hz (file 7 )
About 30 microvolts.

## Slide 9: 1MHz carrier, df = 100Hz (file 8 )

## Slide 10: 1MHz carrier, df = 4Hz (file 9 )

## Slide 11: 1MHz carrier, df = 2Hz (file 10 )

## Slide 12: Mouse Run rf_ti.py and ae_rf_transmitter_transfer_function.py
- Run at df = 1,2,3,4,5,10,40,100, vout = 10V.
- What is the ratio between the mix f and the applied f in the mouse? – the ratio appear to change over time, increasing as the mouse came out of k.
- transmission spectrum in the mouse? – I didn’t attempt.
- I think my amplitudes were too low to evoke spikes.
TODO: make a spike timing diagram. - - Analyze frequency/amplitude trends.
For future, consider using a higher carrier frequency - I may need to decouple my transmit frequency from record frequency to do this. i.e. 5MHz carrier would be better than 1MHz in terms of energy transmitted.
My antenna only goes up to 2MHz. So try 2MHz.

## Slide 13: Mouse: Df = 3Hz (e112_RF_antenna t2 mouse)
There is a massive difference between the start and end of the ketamine. Entrainment happens far more easily when ketamine is low.
Did I change the position? I did a bit…
Maybe I should try Isoflurane again?

## Slide 14: Mouse Df = 5Hz
Entrainment occurs more easily when k is wearing off. Amplitude is near non-existent when k is newly administered.

## Slide 15: Carrier 2kHz compared with 1MHz (df = 10Hz)
10Hz
The 10Hz is clear and present when the carrier is 1MHz, and non-existent(below noise floor) at 2kHz.
The ratio of the signal 4000 microvolts : 30-200 microvolts pending anaesthesia level.

## Slide 16
E107 (t3) preamplifier artefact test.
The mixing product frequencies are below the noise floor. The applied signal amplitudes are larger than what we see in vivo (with 1020Hz@200𝜇𝑉and 70Hz@31𝜇𝑉), hence the frequency mixing that we see in our neural decoding experiment does NOT occur in the preamplifier.

## Slide 17: Mouse: Is it actually a neural response? Or am I just generating the df in vivo?
Frequency vs amplitude in phantom/mouse.
Note: My neural amplitudes were too low to evoke enough spikes to make a good spike diagram, nor did I obtain behavioural proof. I think I need to get a higher amplitude lfp to do that, which means I need to go to a higher carrier so more signal gets through into mouse brain.
microvolts
Frequencies(Hz)
There is a clear trend that the mouse amplitudes are higher at lower frequencies, 5Hz, 3hz being very high amplitude.
Note: I measure the amplitude by taking the FFT amplitude at the difference frequency.

## Slide 18: Moving to a higher frequency so I can elicit higher amplitude df.
It is ok to have the generator at a different f to the recording.
It is ok to have each generators at different fs.
1e7,i.e. 10MHz output Fs on gen current is ok.
I can go up to 2MHz carrier f, with a 10MHz sample rate. i.e. 5 samples per period.
Optionally, I can buy a different antenna that goes to 4MHz.

## Slide 19: Electrical Tests to do.
Direct 5Hz instead of 2kHz.
Use a pulse stimulation, to show that evoked field follows at delay.
Look at time separation of the evoked signal and the applied signal.
do phantom amplitude experiment at 2MHz carrier, Fs = 10MHz. Is the amount that gets through larger than at 1MHz? By how much?
Can I obtain spiking information.
Does the antenna really make an amplitude difference compared to direct application of fields?